## Sheet1
Enterococci reading (MPN/100ml) | [18 empty] | rain event - 197mm over 24 hours | [6 empty] | advisories are based on recent weather conditions | 65mm rain | 20 mm rain | 45.4 mm rain | [5 empty] | 3 samples at outlet |  |  |  | 111.4 mm rain |  | 68.4 mm rain | high tide | 60.8 mm rain | 2 samples at outlet & creek |  |  |  | 17.4 mm rain | 62 mm rain in 48 hours |  | 22 mm rain 12/11/2025 | 46 mm rain in 48 hours | 33mm rain past 3 days | minimal rainfall stormy conditions |  | 25mm rain over 5 days |  |  |  | U14 -stormy conditions - PH signage up 260+mm rain over 72 hours | 21.4mm rain |  |  | 20.6 mm rain over 48 hours |  | Stormy conditions <5mm rain recorded |  | Stormy conditions ~60mm rain recorded in 48hrs |  | Stormy conditions ~70mm rain recorded in 48hrs |  | Pier to Pine swimming event |  |  | Stormy conditions 17.2 mm rain recorded |  | Stormy conditions 11.6 mm rain recorded | Stormy conditions 26.6 mm rain recorded |  | Stormy conditions 38.8 mm rain recorded
| 2024-10-01 | 2024-11-15 | 2024-11-19 | 2024-11-26 | 2024-12-04 | 2024-12-11 | 2024-12-18 | 2024-12-24 | 2025-01-14 | 2025-01-21 | 2025-01-28 | 2025-02-12 | 2025-02-18 | 2025-02-25 | 2025-03-04 | 2025-03-11 | 2025-04-03 | 2025-04-10 | 2025-04-15 | 2025-04-16 | 2025-04-21 | 2025-04-24 | 2025-04-30 | 2025-05-07 | 2025-05-13 | 2025-05-20 | 2025-05-21 | 2025-05-27 | 2025-06-03 | 2025-06-10 | 2025-06-18 | 2025-06-20 | 2025-06-24 | 2025-07-01 | 2025-07-10 | 2025-07-15 | 2025-07-22 | 2025-07-29 | 2025-08-04 | 2025-08-14 | 2025-08-28 | 2025-09-10 | 2026-09-22 | 2025-09-24 | 2025-10-01 | 2025-10-07 | 2025-10-14 | 2025-10-21 | 2025-10-31 | 2025-11-06 | 2025-11-13 | 2025-11-20 | 2025-12-05 | 2025-12-12 | 2026-12-19 | 2026-12-26 | 2027-01-02 | 2026-01-06 | 2026-01-16 | 2026-02-22 | 2026-01-28 | 2026-02-04 | 2026-02-11 | 2026-02-14 | 2026-02-24 | 2026-02-28 | 2026-03-04 | 2026-03-13 | 2026-03-20 | 2026-03-25 | 2026-04-01 | 2026-04-10 | 2026-04-17 | 2026-04-24 | 2026-05-01 | 2026-05-08 | 2026-05-15 | 2026-05-22 | 2026-05-25 | 2026-05-29 | 2026-06-03 | 2026-06-19
SLAUGHTER BAY | 2 | <1 | 10 | 10 | 30 | 26.6 | 10 | 9.7 | 2 | <1 | 7.4 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | 1 | 228 | 81.9 | <200 | 28.7 | 25.7 | 13.4 | >200 | 162.1 | 501 | 501.2 | 40.7 | 20.3 | no sample taken | 6.2 | Failed microbiological testing advisories are based on recent weather conditions | 111.2 | 29.2 | 1 | <1 | 204.6 | 3 | 9.5 | <1 | no sample taken | 18.9 | 8.6 | <1 | <1 | 7.3 | 20.3 | 5.2 | 12.5 | 18.9 | 14.8 | no sample taken | 2 | no sample taken | no sample taken | <1.0 | <1.0 | 219.8 | 41.6 | <1.0 | 3 | 4.1 | <1.0 | 6.3 | <1.0 |  | 7.2 | 49 | <20 | <5.0 | <5.0 | <5.0 | 47.4 | <10 | 63.5 | not recorded | 5 |  | <1.0 | <1.0
EMILY BAY | 31.7 | 10 | 12.2 | <1 | 10 | 20 | 10 | 10 | 6.3 | <1 | 4.1 | 5 | 1 | 1 | <1 | 6.3 | 2 | <1 | 47.9 | 549.3 | 533.5 | 436 | 437.4 | 516.3 | 187.2 | >500 | 524.7 | 524.7 | 517 | 461.1 | 20.3 | reading not recorded | 42.6 |  | 23.3 - 117.8 43.2 | 10.8 10.9 | 7.5 | 21.8 | 574.8 | 19.5 | reading not recorded | 7.5 | no sample taken | 33 -41 | 24.9 | 4.1 | 5.2 | 135.5 | 261.5 | 42.6 | 50.4 | 143.5 | 53.9 | no sample taken | 8.3 | no sample taken | no sample taken | 7.2 | 6.1 |  | 206.4 |  | 36.9 | 41.7 | 26.5 | 43.9 | 17.5 |  | 29 | 190 | 40.3 | 38 | <10 | <10 | 190 | 41.9 | 172.8 | reading not recorded | 182.2 |  | 62.4 | 42
EMILY BAY LONE PINE | 3.1 | 20 | 10 | 10 | 10 | 29.3 | 24 | 27.9 | <1 | <1 | 3.1 | <1 | 6.3 | <1 | <1 | 2 | 1 | 1 | 3 | 300.8 | 4 | <200 | 11 | 28.3 | 152.3 | not recored | 516.3 | 517.2 | 120 | 227.1 | 19.2 | no sample taken | 152.9 |  | 238.2 | 9.2 | 1 | 38.9 | 396 | 3 | 140.8 | <1 | no sample taken | 25.3 | 11 | <1 | <1 | 36.9 | 81.6 | 21.8 | 24.9 | 26.5 | 18.9 | no sample taken | <1.0 | no sample taken | no sample taken | <1.0 | <1.0 |  | 185 |  | <1.0 | 9.8 | <1.0 | 28.1 | 8.8 |  | 13 | 68 | 37.2 | 10 | <10 | <10 | 93.4 | 17.8 | 87.3 | reading not recorded |  |  | 1 | <1.0
[19 empty] | signage went up at Pier Street - until 15/7/2025 | [23 empty] | advisories are based on recent weather conditions | shown orange on facebook after rain & before testing |  |  |  |  | show as orange as a precaution on facebook before results |  |  |  |  | advisories are based on weather conditions | 📢 Beach Water Quality Update |  |  |  |  | advisories are based on weather conditions |  | advisories are based on weather conditions |  |  |  | advisories are based on weather conditions |  | advisories are based on weather conditions |  | shown as orange as a precaution on facebook before results |  |  |  |  | shown as orange as a precaution on facebook before results |  | shown as orange as a precaution on facebook before results | shown as orange & as red on facebook before results | Signage place at Pier street until 7 days | shown as orange as a precaution on facebook before results
[49 empty] | signage up 30/10/2025 - 5 days | [5 empty] | Our final beach water quality results for the year will be posted on 19 December 2025. |  |  |  |  | results were deemed ineligible
| https://www.nhmrc.gov.au/sites/default/files/images/guidelines-for-managing-risks-in-recreational-water.pdf | [64 empty] | 25.4
https://www.nirc.gov.au/beach-water-quality-monitoring
[55 empty] | Unless we experience a significant weather event or stormwater incursion that requires additional testing, the next scheduled update will be on 5 January 2026. |  |  |  |  | Signage place at Pier street until 7 days
|  |  |  | Enterococci reading (MPN/100ml) | Description | Categorisation | [48 empty] | Thank you for your understanding, and we hope everyone continues to enjoy our beautiful beaches safely these holidays.
|  |  |  | <41 | Good | Green
|  |  |  | 41-200 | Fair | Orange
|  |  |  | 201-500 | Poor | Orange/Red*
|  |  |  | >500 | Bad | Red
The presence of E. coli can easily be detected by the occurrence of fluorescence under UV light. Approximately 95 % of all E. coli strains produce the enzyme ß-glucuronidase, which reacts with an enzyme substrate contained in EC Blue to release a fluorescent dye.